## InputTemplate
Electrode config |  | 0: VCB 1: VCBB 2: HCB 3: VOA 4: HOA
Fault Clearing |  | FUSE: Use fuse curve |  |  | FIXED: Use fixed duration |  |  | FASTEST: Use fastest trip time of device in vicinity
Fault clearing option |  | For clearing time option FASTEST: NO of tiers
For clearing time option FIXED: Fixed delay
For clearing Time Option FUSE: fuse LibraryName:CurveName
No. | Bus Name | kV | Electrode config | Enclosure H (in.) | Enclosure W (in.) | Enclosure D (in.) | Conductor Gap (mm) | Working Distance (inches) | Breaker inerrupting time (cycles) | Fault Clearing | Fault clearing option
13 | HANCOCK | 13.8 | 0 | 45 | 30 | 5 | 152 | 36 | 5 | FIXED | 0.2
11 | ROANOKE | 13.8 | 1 | 45 | 30 | 5 | 152 | 36 | 5 | FUSE | ABB:CLE1-15-030
0 | XALO_T1 | 15 | 1 | 45 | 30 | 5 | 152 | 36 | 5 | FUSE | ABB:CLE1-15-030