## config
STUDY CONFIGURATION
OLR FILE | C:\Program Files (x86)\ASPEN\1LPFv15\SAMPLE30.OLR
Study Branch | NEVADA1 | 132 | CLAYTOR | 132 | 1 | L
Fault Location | CLOSEIN | INT_10_15 | INT_10_15_EOP
Fault Type | 3PH | 1LG_A | 1LG_B
Outage (bus;tier) | CLAYTOR | 132 | 1
Outage Type | Single
Fault Z(R;X from/to/steps Ohm) | 0 | 0 | 1 | 1 | 1
Relay Group | CLAYTOR | 132 | NEVADA | 132 | 1 | L
Relay | CLPhase2 | CL-G1 | CL-G2
Relay Group | NEVADA | 132 | CLAYTOR | 132 | 10 | L
Relay | GCXTEST | GCXTEST2
#Relay | CLPhase2